Subject :-Refrigeration & Air Conditioning (ME 8002)

## Date:-                                               Assaingment-1                                      Submission Date:-

- Carnot refrigeration cycle absorbs heat at 270 K and rejects heat at 300 K. (a) Calculate the coefficient of performance of this refrigeration cycle. (b) If the cycle is absorbing 1130 kJ/min at 270 K, how many kJ of work is required per second. (c) If the Carnot heat pump operates between the same temperatures as the above refrigeration cycle, what is the coefficient of performance? (d) How many kJ/min will the heat pump deliver at 300 K if it absorbs 1130 kJ/min at 270 K.

- The capacity of a refrigerator is 200 TR when working between – 6°C and 25oC. Determine the mass of ice produced per day from water at 25°C. Also find the power required to drive the unit. Assume that the cycle operates on reversed Carnot cycle and latent heat of ice is 335kJ/kg.

- Five hundred kgs of fruits are supplied to a cold storage at 20oC. The cold storage is maintained at 5°C and the fruits get cooled to the storage temperature in 10 hours. The latent heat of freezing is 105 kJ/kg and specific heat of fruit is 1.256 kJ/kg K. Find the refrigeration capacity of the plant.

- A cold storage plant is required to store 20 tonnes of fish. The fish is supplied at a temperature of 30°C. The specific heat of fish above freezing point is 2.93 kJ/kg K. The specific heat offish below freezing point is 1.26 kJ/kg K. The fish is stored in cold storage which is maintained at – 8 oC. The freezing point of fish is – 4°C. The latent heat of fish is 235 kJ/kg. If the plant requires 75 kW to drive it, find (a) The capacity of the plant, and (b) Time taken to achieve cooling. Assume actual C.O.P. of the plant as 0.3 of the Carnot C.O.P.

## Date:-                                               Assaingment-2                                     Submission Date:-

- An ideal refrigeration cycle operates with R134a as the working fluid. The temperature of refrigerant in the condenser and evaporator are 40ºC and -20ºC respectively. The mass flow rate of refrigerant is 0.1 kg/s. Determine the cooling capacity and COP of the plant.

- A R-12 plant has to produce 10 tons of refrigeration. The condenser and evaporator temperature 40C   and -100C   Determine

  - Refrigerant flow rate

  - Volume flow rate of the compressor

  - Operating pressure ratio

  - Power required to drive the compressor

  - Flash gas percentage after throttling

  - COP

- A NH3refrigerator produces 100 tons of ice from water at 0ºC in a day. The cycle operates between 25ºC and -15ºC. The vapor is dry saturated at the end of compression. If the COP is 50% of theoretical COP, calculate the power required to drive the compressor.

- In a refrigerator the power rating impressed on the compressor is 1.2 kW. The circulating wire in evaporator is 5 kW and the cooling water took away 10 kW from condenser coil. The operating temperatures range is 18ºC and 0ºC and their corresponding latent heats are 170 kJ/kg and 230 kJ/kg and the difference between the liquid energy is 35 kJ/kg. Find the actual COP of the system (2) relative COP, assuming the vapour is just dry and saturated at the end of the compression.

- A water cooler using R12 refrigerant works between 30ºC to 9ºC. Assuming the volumetric and mechanical efficiency of the compressor to be 80 and 90% respectively, and the mechanical efficiency of motor to be 90% , and 20% of useful cooling is lost into water cooler, find:

1)  The power requirement of the motor

2)  Volumetric displacement of the compressor

Given C(saturated vapour at30ºC) = 0.7 kJ/kg K

## Date:-                                               Assaingment-3                                     Submission Date:-

- Explain with neat sketch Practical Vapour absorption refrigeration system?

- Explain with neat sketch Li-Br Vapour absorption refrigeration system?

- The operating temperatures of a single stage vapour absorption refrigeration system are: generator: 90o C; condenser and absorber: 40C; evaporator: 0oC. The system has a refrigeration capacity of 100 kWand the heat input to the system is 160 kW. The solution pump work is negligible.

a) Find the COP of the system and the total heat rejection rate from the system.

b) An inventor claims that by improving the design of all the components of the system he could reduce the heat input to the system to 80 kW while keeping the refrigeration capacity and operating temperatures same as before. Examine the validity of the claim.

- A vapour absorption refrigeration system based on ammonia-water (Figure 17.1) has refrigeration capacity of 100 TR. The various state properties of the system shown below are given in the table. Taking the heat rejection rate in the reflux condenser (Qd) as 88 kW, find a) The mass flow rates of solution through the evaporator, strong solution and weak solution; b) Enthalpy values not specified in the table and c) Heat transfer rates at condenser, absorber and generator and solution

pump work d) System COP

## Date:-                                               Assaingment-4                                     Submission Date:-

- 23. On a particular day the weather forecast states that the dry bulb temperature is 37oC, while the relative humidity is 50% and the barometric pressure is 101.325 kPa. Find the humidity ratio, dew point temperature and enthalpy of moist air on this day.

- Will the moisture in the above air condense when it comes in contact with a cold surface whose surface temperature is 24oC?

- Moist air at 1 atm. pressure has a dry bulb temperature of 32oC and a wet bulb temperature of 26oC. Calculate a) the partial pressure of water vapour, b) humidity ratio, c) relative humidity, d) dew point temperature, e) density of dry air in the mixture, f) density of water vapour in the mixture and g) enthalpy of moist air using perfect gas law model and Psychrometric equations.

- What is the required wattage of an electrical heater that heats 0.1 m/s of air from 150C and 80% RH to 55C? The barometric pressure is 101.325 kPa.

- 0.2 kg/s of moist air at 45oC (DBT) and 10% RH is mixed with 0.3 kg/s of moist air at 25oC and a humidity ratio of 0.018 kgw/kgda in an adiabatic mixing chamber. After mixing, the mixed air is heated to a final temperature of 40oC using a heater. Find the temperature and relative humidity of air after mixing. Find the heat transfer rate in the heater and relative humidity of air at the exit of heater. Assume the barometric pressure to be 1 atm.

## Date:-                                               Assaingment-5                                     Submission Date:-

- A cooling tower is used for cooling the condenser water of a refrigeration system having a heat rejection rate of 100 kW. In the cooling tower air enters at 35oC (DBT) and 24oC (WBT) and leaves the cooling tower at a DBT of 26oC relative humidity of 95%. What is the required flow rate of air at the inlet to the cooling tower in m3/s. What is the amount of make-up water to be supplied? The temperature of make-up water is at 30oC, at which its enthalpy (hw) may be taken as 125.4 kJ/kg. Assume the barometric pressure to be 1 atm.

- In an air conditioning system air at a flow rate of 2 kg/s enters the cooling coil at 25oC and 50% RH and leaves the cooling coil at 11oC and 90% RH. The apparatus dew point of the cooling coil is 7oC. Find a) The required cooling capacity of the coil, b) Sensible Heat Factor for the process, and c) By-pass factor of the cooling coil. Assume the barometric pressure to be 1 atm. Assume the condensate water to leave the coil at ADP (hw= 29.26 kJ/kg)

- A 1.8 meter tall human being with a body mass of 60 kg performs light work (activity = 1.2 met) in an indoor environment. The indoor conditions are: DBT of 30oC, mean radiant temperature of 32oC, air velocity of 0.2 m/s. Assuming an average surface temperature of 34oC for the surface of the human being and light clothing, find the amount of evaporative heat transfer required so that the

Human being is at neutral equilibrium.

- A 100% outdoor summer air conditioning system has a room sensible heat load of 400 kW and a room latent heat load of 100 kW. The required inside conditions are 24oC and 50% RH, and the outdoor design conditions are 34C and 40% RH. The air is supplied to the room at a dry bulb temperature of 14oC. Find a) the required mass flow rate of air b) moisture content of supply air, c) Sensible, latent heat loads on the coil, and d) The required cooling capacity of the coil, Coil Sensible Heat Factor and coil ADP if the by-pass factor of the coil is 0.2. Barometric pressure = 1 atm. Comment on the results.

- An air conditioned building has a sensible cooling load of 60 kW and latent load of 40 kW. The room is maintained at 24oC (DBT) and 50% RH, while the outside design conditions are: 34oC (DBT) and 40% RH. To satisfy the ventilation requirement, outdoor air is mixed with re-circulated air in the ratio of 1:3 (by mass). Since the latent load on the building is high, a reheat coil is used along with a cooling and

Dehumidifying  coil. Air is supplied to the conditioned space at 14oC (DBT). If the bypass factor of the cooling coil is 0.15 and the barometric pressure is 101.325 kPa, find: a) Mass flow rate of supply air, b) Required cooling capacity of the cooling coil and heating capacity of the reheat coil.

## Date:-                                                  Tutorial-1